**AMENDMENT TO OPSS 1440, APRIL 2020**

|  |
| --- |
| Special Provision No. 114S07 November 2022 |

**1440.05 MATERIALS**

**1440.05.01 Reinforcing Steel Bars, Splice Bars, Tie Bars, Dowel Bars, Spirals, and Spacers**

The second paragraph of Subsection 1440.05.01 of OPSS 1440 is deleted in its entirety and replaced by the following:

All reinforcing steel bars shall be Grade 400W or Grade 500W, according to CSA G30.18, as specified in the Contract Documents.

**1440.05.02 Stainless Steel Reinforcing Bars, Stainless Steel Splice Bars, Tie Bars, Dowel Bars, Spirals, Spacers, and Stainless Steel Mechanical Connectors**

The first paragraph of Subsection 1440.05.02 of OPSS 1440 is deleted in its entirety and replaced by the following:

Stainless steel reinforcing bars and spirals shall be according to ASTM A276 and ASTM A955, minimum Grade 520.

**1440.07 PRODUCTION**

**1440.07.01 Manufacture of Reinforcing Steel Bars**

Subsection 1440.07.01 of OPSS 1440 is deleted in its entirety and replaced by the following:

The manufacture of reinforcing steel bars shall be by a manufacturer listed under "Mill" in the Designated Sources for Materials listing for Reinforcing Steel, Uncoated, Fabricators and Mills, for the grade specified in the Contract Documents.

**1440.07.03 Fabrication of Reinforcing Steel Bar, Stainless Steel Reinforcing Bar, Splice Bar, and Stainless Steel Splice Bars**

The first paragraph of Subsection 1440.07.03 of OPSS 1440 is deleted in its entirety and replaced by the following:

Bars shall be cold bent at the fabricator's shop listed under “Fabricators” in the Designated Sources for Materials listings for Reinforcing Steel, for the grade specified in the Contract Documents.

WARRANT: Always with OPSS 1440, Material Specification for Steel Reinforcement for Concrete